## Summary
LOS Calculator for Three Design Options
User to input data in RED. | MDACC South Campus Garage 2
Inputs | Option 1 | Option 2 | Option 3 |  | For Multi-User Group Garages Only (Hospital Mixed & University Mixed): Enter the percent mix of User Group below to lock in the peak load factor.
Market Sector (Drop Down List) | Research |  |  | RAMPING | Hospital Mixed: |  | University Mixed:
Number of Spaces (Whole Number Only) | 1732 |  |  |  | Visitor | 25% | Students | 0%
Number of Levels (Whole Number Only) | 7 |  |  |  | Employees/Staff | 25% | Staff | 50%
Ramp Type (Drop-Down List) | Double Threaded Helix - 2 Way |  |  |  | Outpatient | 50% | Faculty | 50%
Ramp Slope (PERCENT) | 4.86 |  |  |  |  | 100% |  | 100% | Must add up to 100%
Number of Turns to Last Space (Decimal) | 3.5
Number of Spaces Not Engaged by Ramp (Whole Number Only) | 197
Number of Garage Bays | 4
Spaces Passed in Up Circuit > Spaces Passed in Down Circuit? | YES
Stall Angle (Drop-Down List) | 90° |  |  | GEOMETRY
Standard Parking Stall Width (Drop-Down List) | 9'-0"
Bay Width (Drop Down List) (Round Down to nearest choice) | 61' |  |  |  | Note:This row has a drop down list dependent on the stall angle. You MUST update this row after you change stall angle.
End Bay Width (Decimal Feet) | 32
Circulation (One way / Two way) | Two-Way
Column at the end of the spaces? (Typical in short-span construction) | NO
Flat Floor Parking (%) | 65 |  |  | WAYFINDING
Clear Height - 3'-0" Structure Assumed (Drop-Down List) | 10'-6" (7'-6" CLR)
Construction Type (Drop-Down List) | Precast
Counting System to be Installed in Garage? (Drop-Down List) | None
Ramp Aligned with Entry/Exit? (Yes/No) | YES
Contiguous Flat Floor Parking? (Yes/No) | YES
CIP : Cable Rails or Walls on Interior Ramp? | Cable Rails
Precast : Shear Wall Location - Exterior/Interior/End Bays? | End Bays
MDACC South Campus Garage 2
Summary of Level of Service | Option 1 | Option 2 | Option 3
Overall Ramping Score | 86.6706 | #N/A | #N/A | (See Tab for Detailed Information)
Overall Geometry Score | 94.955 | 0.25 | 0.25 | (See Tab for Detailed Information)
Overall Wayfinding Score (w/Enhancements) | 83.436 | 0.4 | 0.4 | (See Tab for Detailed Information)
Final Weighted Level of Service
Ramps (45%) | 39.0018 | #N/A | #N/A
Geometry (40%) | 37.982 | 0.1 | 0.1
Wayfinding (15%) | 12.5154 | 0.06 | 0.06
TOTAL SCORE | 89.4992 | #N/A | #N/A
LOS LETTER GRADE | LOS B | #N/A | #N/A

## Ramping
Every Calculation is automatic. Do not manually manipulate any data on this sheet!
MDACC South Campus Garage 2
| Option 1 | Option 2 | Option 3
Parameter
Market Sector | Research | 0 | 0
Space Count | 1732 | 0 | 0
Ramp Type | Double Threaded Helix - 2 Way | 0 | 0
Peak Load Factor (Percentage Expressed as Decimal) | 0.55 | #N/A | #N/A
Number of Spaces Not Engaged by Ramp | 197 | 0 | 0
Max Peak Load Per Hour | 755.6 | #N/A | #N/A
Number of Levels | 7 | 0 | 0
% of Ramp Capacity | 83.96% | #N/A | #N/A
Ramping Usage LOS | LOS C | #N/A | #N/A
Numerical Score Equivalent | 79.8512 | #N/A | #N/A
Parameter
Number of 360 Degree Revolutions to Last Space | 3.5 | 0 | 0
Revolution LOS | LOS A- | #N/A | #N/A
Numerical Score Equivalent (use Midpoint of LOS) | 93 | #N/A | #N/A
Parameter
Ramp Slope (TYP Floor) In PERCENT | 4.86 | 0 | 0
Ramp Slope LOS | LOS A- | #N/A | #N/A
Numerical Score Equivalent | 93.98 | #N/A | #N/A
Ramping System Weighted Level of Service
Ramp Capacity (50%) | 39.9256 | #N/A | #N/A
Turns to the top (25%) | 23.25 | #N/A | #N/A
Ramp Slope (25%) | 23.495 | #N/A | #N/A
Numerical Score Equivalent | 86.6706 | #N/A | #N/A
Ramping Enhancement/Reduction
Up Circuit is Greater than Down Circuit? (N=-7%) | None | None | None | Impact is also seen in Wayfinding Category. See TAB.
Total Ramping Enhancement/Reduction Percentage | 0% | 0% | 0%
TOTAL Ramping Level Of Service Score | 86.6706 | #N/A | #N/A
Overall Ramping Level of Service Grade | LOS B | #N/A | #N/A

## Geometry
Every Calculation is automatic. Do not manually manipulate any data on this sheet!
MDACC South Campus Garage 2
Parameter | Option 1 | Option 2 | Option 3
Stall Angle | 90° | 0 | 0
Bay Width (Decimal Feet) | 61' | 0 | 0
Bay Width LOS | LOS B | Bay Width Not Appropriate for Stall Angle | Bay Width Not Appropriate for Stall Angle
Numerical Score Equivelant (use Midpoint of LOS) | 92.9 | FALSE | FALSE
Parameter
Circulation (One-Way/Two-Way) | Two-Way | 0 | 0
End Bay Dimension (Decimal Feet) | 32 | 0 | 0
End Bay LOS | LOS A | F Not Recommended | F Not Recommended
Numerical Score Equivelant | 94.6 | 0 | 0
Parameter
Standard Size Parking Stall Size (Feet) | 9'-0" | 0% | 0%
Parking Stall LOS | LOS A | 1 | 1
Numerical Score Equivelant | 98.4 | 1 | 1
Geometry Weighted Level Of Service
Bay Width (35%) | 32.515 | 0 | 0
End Bay Dimension (40%) | 37.84 | 0 | 0
Parking Stall Size (25%) | 24.6 | 0.25 | 0.25
Baseline Geometry Level Of Service Score | 94.955 | 0.25 | 0.25
Baseline Geometry Level of Service Grade | LOS A | F Not Recommended | F Not Recommended
Geometry Enhancement/Reduction
Column at the end of the space (Short Span) - Usually present in podiumn garages (3%) | None | None | None
Total Geometry Enhancement/Reduction | 0% | 0% | 0%
Total Geometry Level of Service Score with Enhancements | 94.955 | 0.25 | 0.25
Overall Geometry Level of Service Grade with Enhancements | LOS A | F Not Recommended | F Not Recommended

## Wayfinding
Every Calculation is automatic. Do not manually manipulate any data on this sheet!
Parameter | Option 1 | Option 2 | Option 3
Flat Floor Parking (%) | 65 | 0 | 0
Percent Flat Floor Parking LOS | LOS B- | F Not Recommended | F Not Recommended
Numerical Score Equivalent | 85 | 0 | 0
Parameter
Typical Floor to Floor Height (Clear) | 10'-6" (7'-6" CLR) | 0 | 0
Typical Floor to Floor Height LOS | C | 1 | 1
Numerical Score Equivalent (use Midpoint of LOS) | 77 | 1 | 1
Wayfinding Weighted Level Of Service
Percent Flat Floor Parking (60%) | 51 | 0 | 0
Floor to Floor Height (40%) | 30.8 | 0.4 | 0.4
Baseline Wayfinding Level Of Service Score | 81.8 | 0.4 | 0.4
Baseline Wayfinding Level of Service Grade | LOS C | F Not Recommended | F Not Recommended
Wayfinding Score Enhancements/Reductions
Single Space Detection System? (5%) | None | None | None
Level Count System? (3%) | None | None | None
Facility Count System? (2%) | None | None | None
Ramp Aligned with Entry/Exit (1%) | 1% | None | None
Contiguous Flat Floor Parking? Both CIP & Precast (3%) | 3% | None | None
Precast/CIP | Precast | 0 | 0
CIP : Cable Rails (+1%) or Walls (0%)? | None | None | None
Precast : Shear Wall Location - Exterior(+1%)/Interior(-1%)/End Bays(-2%)? | -2% | FALSE | FALSE
Lighting Levels |  |  |  | TBD | LOS Scale on Lighting
Up Circuit is Greater than Down Circuit? (N=-7%) | None | None | None
Total Wayfinding Enhancement/Reduction Percentage | 2% | 0% | 0%
Total Wayfinding Level of Service Score with Enhancements | 83.436 | 0.4 | 0.4
Overall Wayfinding Level of Service Grade with Enhancements | LOS C+ | F Not Recommended | F Not Recommended

## Data
Criteria | LOS
Poor (Not Recommended) | F
Fair | D
Acceptable | C
Good | B
Excellent | A
Peak Load Factor
Peak Load Factor by Use Type | Peak AM |  | Peak PM
| In | Out | In | Out
Residential | 5% | 40% | 40% | 20%
Hotel | 35% | 50% | 40% | 35%
Office | 50% | 5% | 10% | 50%
Retail | 30% | 40% | 50% | 50%
Restaurant | 35% | 35% | 50% | 40%
Cinema | 50% | 30% | 25% | 60%
Special Event | 90% | 5% | 5% | 100%
Research | 55% | 5% | 10% | 55%
Hospital Visitor | 40% | 40% | 40% | 40%
Hospital Employee | 60% | 10% | 10% | 60%
Hospital Outpatient | 70% | 5% | 25% | 70%
Hospital Mixed | 60% | 15% | 25% | 60% | WEIGHTED FORMULA
University Students | 33% | 33% | 33% | 33%
University Staff | 50% | 5% | 10% | 50%
University Faculty | 40% | 20% | 10% | 40%
University Mixed | 45% | 12.5% | 10% | 45% | WEIGHTED FORMULA
Mixed Use | Fill In (Situational) | Fill In Manually | Fill In Manually | Fill In Manually | WEIGHTED FORMULA
Percent of Maximum Capacity
|  | 100%+ | 90%-99% | 75% to 89% | 60%-75% | <59%
| Midpoint of Range | 100 | 94.5 | 82 | 67.5
|  | Poor | Fair | Acceptable | Good | Excellent
| LOS | F | D | C | B | A
Ramp Type | Max Capacity (vph)
Single Threaded Helix - 2 Way | 450 | >450 | 405 to 450 | 340 to 405 | 270 to 340 | <270
Double Threaded Helix - 1 Way | 800 | >800 | 720 to 800 | 600 to 720 | 480 to 600 | <480
Double Threaded Helix - 2 Way | 900 | >900 | 810 to 900 | 675 to 810 | 540 to 675 | <540
Express Ramp Straight | 1000 | >1000 | 900 to 1000 | 750 to 900 | 600 to 750 | <600
Cascading Express Ramp (2 Fl Cut) | 1500 | >1500 | 1,350 to 1,500 | 1,125 to 1,350 | 900 to 1,125 | <900
Cascading Express Ramp (3 Fl Cut) | 2250 | >2250 | 2,025 to 2,250 | 1,690 to 2,025 | 1,350 to 1,690 | <1,350
Cascading Stacked Express Ramp (2 Fl Cut) | 2000 | >2000 | 1,800 to 2,000 | 1,500 to 1,800 | 1,200 to 1,500 | <1,200
Express Ramp Circular | 900 | >900 | 810 to 900 | 675 to 810 | 540 to 675 | <540
| RAMPING CAPACITY - (VPH) LOS |  |  | RAMPING CAPACITY SCHOOL GRADE
| A | 0 | 29.5 | 100 | 96.6 | A
|  | 29.6 | 59 | 96.5 | 93
| B | 59.1 | 67 | 92.9 | 88.6 | B
|  | 67.1 | 74 | 88.5 | 85
| C | 74.1 | 82 | 84.9 | 81 | C
|  | 82.1 | 89 | 80.9 | 77
| D | 89.1 | 94.5 | 76.4 | 73.2 | D
|  | 94.6 | 99 | 73.1 | 70
| F | 99.1 | 100 | 69.9 | 35 | F
|  | 100.1 | 1000 | 34.9 | 0
LOS CONVERSION FOR RAMP UTILIZATION
| Option 1 |  | Option 2 |  | Option 3
| X | 83.9556 | X | #N/A | X | #N/A
| X1 | 82.1 | X1 | #N/A | X1 | #N/A
| X2 | 89 | X2 | #N/A | X2 | #N/A
| Y1 | 80.9 | Y1 | #N/A | Y1 | #N/A
| Y2 | 77 | Y2 | #N/A | Y2 | #N/A
| Linear Interpolation |  | Linear Interpolation |  | Linear Interpolation
| 79.8512 | NUMERICAL SCORE EQUIVALENT | #N/A | NUMERICAL SCORE EQUIVALENT | #N/A | NUMERICAL SCORE EQUIVALENT
LOS Grade Scale |  |  |  |  | LOS | 360 DEG REVOLUTIONS |  | SCHOOL GRADE
LOS A | 98.5 | 100 | LOS A+ |  | A | 1 | 3.5 | 100 | 93
| 94.6 | 98.4 | LOS A |  | B | 3.6 | 4.5 | 92.9 | 85
| 93 | 94.5 | LOS A- |  | C | 4.6 | 5.5 | 84.9 | 77
LOS B | 91.4 | 92.9 | LOS B+ |  | D | 5.6 | 6.5 | 76.9 | 70
| 86.6 | 91.3 | LOS B |  | F | 6.6 | 7.5 | 69.9 | 0
| 85 | 86.5 | LOS B-
LOS C | 83.4 | 84.9 | LOS C+
| 78.6 | 83.3 | LOS C
| 77 | 78.5 | LOS C-
LOS D | 75.4 | 76.9 | LOS D+
| 71.5 | 75.3 | LOS D
| 70 | 71.5 | LOS D-
LOS F | 68.4 | 69.9 | F+ Not Recommended
| 0 | 68.3 | F Not Recommended
NUMBER OF 360 DEGREE REVOLUTIONS
Option 1 |  | Option 2 |  | Option 3
X | 3.5 | X | 0 | X | 0
X1 | 1 | X1 | #N/A | X1 | #N/A
X2 | 3.5 | X2 | 3.5 | X2 | 3.5
Y1 | 100 | Y1 | #N/A | Y1 | #N/A
Y2 | 93 | Y2 | #N/A | Y2 | #N/A
Linear Interpolation |  | Linear Interpolation |  | Linear Interpolation
93 | NUMERICAL SCORE EQUIVALENT | #N/A | NUMERICAL SCORE EQUIVALENT | #N/A | NUMERICAL SCORE EQUIVALENT
| LOS | EXPRESS RAMP % GRADE |  | SCHOOL GRADE |  | LA HAS IT'S OWN RAMP GRADE TABLE. CALCULATOR SHOULD BE FLEXIBLE ON CA vs REST OF COUNTRY.
| A | 0 | 6.67 | 100 | 100
|  | 6.68 | 7.33 | 100 | 96.6
|  | 7.34 | 8 | 96.5 | 93
| B | 8.01 | 9 | 92.9 | 88.6
|  | 9.01 | 10 | 88.5 | 85
| C | 10.01 | 11 | 84.9 | 81
|  | 11.01 | 12 | 80.9 | 77
| D | 12.01 | 13.5 | 76.4 | 73.2
|  | 13.51 | 15 | 73.1 | 70
| F | 15.01 | 17.5 | 69.9 | 35 |  | Drop Down Lists | Construction Type
|  | 17.51 | 20 | 34.9 | 0 |  | One-Way | Precast
[7 empty] | Two-Way | Cast-In-Place
| LOS | PARK-ON-RAMP % GRADE |  | SCHOOL GRADE
| A | 4 | 4.49 | 100 | 96.6
|  | 4.5 | 5 | 96.5 | 93
| B | 5.01 | 5.25 | 92.9 | 88.6
|  | 5.26 | 5.5 | 88.5 | 85
| C | 5.51 | 5.75 | 84.9 | 81
|  | 5.76 | 6 | 80.9 | 77
| D | 6.01 | 6.33 | 76.4 | 73.2 |  | Stall Angle | LOS A | LOS B | LOS C | LOS D
|  | 6.34 | 6.67 | 73.1 | 70 |  | 90° | 62' | 61' | 60' | 59'
| F | 6.68 | 7 | 0 | 0 |  | 75° | 59' | 58' | 57' | 56'
|  | 7.01 | 20 | 0 | 0 |  | 70° | 58' | 57' | 56' | 55'
[7 empty] | 65° | 56.5' | 55.5' | 54.5' | 53.5'
PERCENT GRADE LOS | [6 empty] | 60° | 55' | 54' | 53' | 52'
Option 1 |  | Option 2 |  | Option 3 |  |  | 55° | 53' | 52' | 51' | 50'
X | 4.86 | X | 0 | X | 0 |  | 50° | 51.5' | 50.5' | 49.5' | 48.6'
X1 | 4.5 | X1 | #N/A | X1 | #N/A |  | 45° | 50' | 49' | 48' | 47'
X2 | 5 | X2 | 4.49 | X2 | 4.49
Y1 | 96.5 | Y1 | #N/A | Y1 | #N/A
Y2 | 93 | Y2 | 96.6 | Y2 | 96.6
Linear Interpolation |  | Linear Interpolation |  | Linear Interpolation
93.98 | NUMERICAL SCORE EQUIVALENT | #N/A | NUMERICAL SCORE EQUIVALENT | #N/A | NUMERICAL SCORE EQUIVALENT
Parking Stall Width LOS
| Stall Width | Grade (%) | LOS Letter Grade
| 10'-0" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-11" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-10" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-9" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-8" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-7 | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-6" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-5" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-4" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-3" | 100 | LOS A+, Inefficient. Check Stall Size to Match Vehicle Type. Is This Width Appropriate?
| 9'-2" | 100 | LOS A+
| 9'-1" | 100 | LOS A+
| 9'-0" | 98.4 | LOS A
| 8'-11" | 94.5 | LOS A-
| 8'-10" | 92.9 | LOS B+
| 8'-9" | 91.3 | LOS B
| 8'-8" | 86.5 | LOS B-
| 8'-7" | 84.9 | LOS C+
| 8'-6" | 83.3 | LOS C
| 8'-5" | 78.5 | LOS C-
| 8'-4" | 76.9 | LOS D+
| 8-3" | 75.3 | LOS D
| 8'-2" | 71.5 | LOS D-
| 8'-1" | 69.9 | LOS F (Not Recommended)
| END BAY GEOMETRY (TWO-WAY) |  |  | LEVEL OF SERVICE GRADE
| LOS A | 33.34 | 50 | 100 | 100 | A+, Consider Reducing to Optimize Efficiency
|  | 32.67 | 33.33 | 98.5 | 100 | A+
|  | 32 | 32.66 | 94.6 | 98.4 | A
|  | 31.33 | 31.99 | 93 | 94.5 | A-
| LOS B | 30.67 | 31.32 | 91.4 | 92.9 | B+
|  | 30 | 30.66 | 86.6 | 91.3 | B
|  | 29.33 | 29.99 | 85 | 86.5 | B-
| LOS C | 28.67 | 29.32 | 83.4 | 84.9 | C+
|  | 28 | 28.66 | 78.6 | 83.3 | C
|  | 27.33 | 27.99 | 77 | 78.5 | C-
| LOS D | 26.67 | 27.32 | 75.4 | 76.9 | D+
|  | 26 | 26.66 | 71.5 | 75.3 | D
|  | 25.33 | 25.99 | 70 | 71.5 | D-
| LOS F | 24.67 | 25.32 | 68.4 | 69.9 | F+ Not Recommended
|  | 0 | 24.66 | 0 | 68.3 | F Not Recommended
| END BAY GEOMETRY (ONE-WAY) |  |  | LEVEL OF SERVICE GRADE
| LOS A | 23.34 | 40 | 100 | 100 | A+, Consider Reducing to Optimize Efficiency
|  | 22.67 | 23.33 | 98.5 | 100 | A+
|  | 22 | 22.66 | 94.6 | 98.4 | A
|  | 21.33 | 21.99 | 93 | 94.5 | A-
| LOS B | 20.67 | 21.32 | 91.4 | 92.9 | B+
|  | 20 | 20.66 | 86.6 | 91.3 | B
|  | 19.33 | 19.99 | 85 | 86.5 | B-
| LOS C | 18.67 | 19.32 | 83.4 | 84.9 | C+
|  | 18 | 18.66 | 78.6 | 83.3 | C
|  | 17.33 | 17.99 | 77 | 78.5 | C-
| LOS D | 16.67 | 17.32 | 75.4 | 76.9 | D+
|  | 16 | 16.66 | 71.5 | 75.3 | D
|  | 15.33 | 15.99 | 70 | 71.5 | D-
| LOS F | 14.67 | 15.32 | 68.4 | 69.9 | F+ Not Recommended
|  | 0 | 14.66 | 0 | 68.3 | F Not Recommended
PERCENT GRADE LOS
Option 1 |  | Option 2 |  | Option 3
X | 32 | X | 0 | X | 0
X1 | 32 | X1 | 0 | X1 | 0
X2 | 32.66 | X2 | 14.66 | X2 | 14.66
Y1 | 94.6 | Y1 | 0 | Y1 | 0
Y2 | 98.4 | Y2 | 68.3 | Y2 | 68.3
Linear Interpolation |  | Linear Interpolation |  | Linear Interpolation
94.6 | NUMERICAL SCORE EQUIVALENT | 0 | NUMERICAL SCORE EQUIVALENT | 0 | NUMERICAL SCORE EQUIVALENT
| LOS | PERCENT OF FLAT FLOOR PARKING |  | SCHOOL GRADE
| A | 87.51 | 100 | 96.6 | 100
|  | 75 | 87.5 | 93 | 96.5
| B | 70 | 74.99 | 88.6 | 92.9
|  | 65 | 69.99 | 85 | 88.5
| C | 49 | 64.99 | 81 | 84.9
|  | 33 | 48.99 | 77 | 80.9
| D | 21.5 | 32.99 | 73.2 | 76.4
|  | 10 | 21.49 | 70 | 73.1
| F | 5 | 9.99 | 0 | 0
|  | 0 | 4.99 | 0 | 0
PERCENT OF FLAT FLOOR PARKING LOS
Option 1 |  | Option 2 |  | Option 3
X | 65 | X | 0 | X | 0
X1 | 65 | X1 | 0 | X1 | 0
X2 | 69.99 | X2 | 4.99 | X2 | 4.99
Y1 | 85 | Y1 | 0 | Y1 | 0
Y2 | 88.5 | Y2 | 0 | Y2 | 0
Linear Interpolation |  | Linear Interpolation |  | Linear Interpolation
85 | NUMERICAL SCORE EQUIVALENT | 0 | NUMERICAL SCORE EQUIVALENT | 0 | NUMERICAL SCORE EQUIVALENT
FLOOR-TO-FLOOR HEIGHT LOS
| 12'-0" (9'-0" CLR) + | 100 | A
| 11'-11" (8'-11" CLR) | 92.9 | B
| 11'-10" (8'-10" CLR) | 92.016 | B
| 11'-9" (8'-9" CLR) | 91.139 | B
| 11'-8" (8'-8" CLR) | 90.262 | B
| 11'-7" (8'-7" CLR) | 89.385 | B
| 11'-6" (8'-6" CLR) | 88.508 | B
| 11'-5" (8'-5" CLR) | 87.631 | B
| 11'-4" (8'-4" CLR) | 86.754 | B
| 11'-3" (8'-3" CLR) | 85.877 | B
| 11'-2" (8'-2" CLR) | 85 | B
| 11'-1" (8'-1" CLR) | 84.9 | C
| 11'-0" (8'-0" CLR) | 83.768 | C
| 10'-11" (7'-11" CLR) | 82.64 | C
| 10'-10" (7'-10" CLR) | 81.512 | C
| 10'-9" (7'-9" CLR) | 80.384 | C
| 10'-8" (7'-8" CLR) | 79.256 | C | Drop Down List
| 10'-7" (7'-7" CLR) | 78.128 | C | Not CIP
| 10'-6" (7'-6" CLR) | 77 | C | Cable Rails
| 10'-5" (7'-5" CLR) | 76.9 | D | Walls
| 10'-4" (7'-4" CLR) | 75.52 | D | Not Precast | Drop Down List
| 10'-3" (7'-3" CLR) | 74.14 | D | Interior | None |  | Drop Down List
| 10'-2" (7'-2" CLR) | 72.76 | D | Exterior | Facility Count System |  | YES
| 10'-1" (7'-1" CLR) | 71.38 | LOS D (Recommend 7'-2") | End Bays | Level Count System |  | NO
| 10'-0" (7'-0" CLR) | 70 | LOS D (Code Minimum) Recommend 7'-2" |  | Single Space Detection System
TRUE
FALSE
Up Circuit VS Down Circuit - Spaces Passed
| Circuit | Option 1 | Option 2 | Option 3
| Up > Down? | YES | 0 | 0